# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

# Contract title: Supply of IT equipment and software in addition to related support services 	p 1 /…

Publication reference: AID 11210 – CIG n. 7498519

Columns 1-2 should be completed by the contracting authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item number | 2. Specifications required | Qty | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| 1 | HARDWARE |  |  |  |  |
| 1.1 | Personal Computer - Branded desktop, keyboard and mouse - CPU: i7 9th generation - Hard Disk 1: SSD 480 GB - Hard Disk 2: SATA 1TB (7200 rpm) - RAM 16 GB - Dedicated graphic adapter (2 GB minimum) - network adapter Ethernet 10/100/1000 Mbps - Operating system Windows 10 64 bit Professional - Office 2016 PRO - Warranty 3 years | 50 |  |  |  |
| 1.2 | Monitor LED 21-22 inch with built-in speakers and HDMI port Warranty: 3 years | 50 |  |  |  |
| 1.3 | Server Chassis: up to 8 Hot Plug Drives Processor: Intel® Xeon® E5-2620 v4 2.1GHz,20M Cache,8.0GT/s QPI,Turbo,HT,8C/16T (85W) Max Mem 2133MHz Additional Processor: Intel® Xeon® E5-2620 v4 2.1GHz,20M Cache,8.0GT/s QPI,Turbo,HT,8C/16T (85W) Max Mem 2133MHz Processor Thermal Config.: 2 CPU Standard Memory DIMM Type and Speed: 2666MT/s RDIMMs Memory config. Type: Performance Optimized Memory (Qty.:2): 64 GB RDIMM 2666MT/s Dual Rank RAID: RAID 5 for H330/H730/H730P (3 – 8 HDDs or SSDs) RAID Controller: PERC H730 Raid Controller, 1GB NV Cache or equivalent Hard Drive (Qty.:8): 300 GB 10K RPM SAS 12 Gbps 2.5in Hot Plug Hard Drive Additional Network Cards: On-Board Broadcom 5720 Quad Port 1 GB LOM Internal Optical Drive: DVD, SATA, Internal for 8 HD Chassis Power Cords(Qty.: 2): NEMA 5-15P to C13 Wall Plug, 125 Volt, 15 AMP, 10 Feet (3m) Power Supply: Dual, Hot-Plug, Redundant Power Supply (1+1), 550W OS: Windows Servers 2016 Standard Edition Warranty: 3 years | 3 |  |  |  |
| 1.4 | NAS OS: Windows Storage Servers 2016 Standard Edition RAID: RAID 5, H330/H730 for SAS/SATA Hard Drive: 2 TB, 7.2K RPM, 6 Gbps, 3.5 in Hot-plug Hard Drive Network Adapter: On-board LOM 1 GBE Dual Port (BCM5720 GbE LOM) Power Supply: Dual, Hot-plug, Redundant Power Supply, 350W Power Cords: NEMA 5-15P to C13 Wall Plug, 125 volt, 15 AMP, 10 Feet(3m) Warranty: 3 years | 2 |  |  |  |
| 1.5 | RACK Unit 6 rails | 1 |  |  |  |
| 1.6 | Rack Console 1U rackmount console with 19in LCD screen, Keyboard, numeric Keypad and touch pad Compatible with PS/2 and USB computers and servers Space-saving 1U rackmount drawer design rackmountable in 19in system rack Supports resolutions up to 1366 x 768 Quick and easy rack mounting installation | 1 |  |  |  |
| 1.7 | KVM Switch 16 ports PC/Server connections: PS/2; USB; VGA Technology: PS/2; USB; VGA/SVGA Included cable kits for USB or PS/2 keyboard and mouse User-friendly web management interface Compatible with all major operating systems Warranty: 3 years | 2 |  |  |  |
| 1.8 | Veeam Backup Veeam Backup Solution for servers (3 years of support) | 1 |  |  |  |
| 1.9 | Network Printer BW and Color Up to 55 ppm print/copy Standard dual scanning handles up to 240 original per minute High capacity 300 sheet document feeder Color display with touchscreen interface Scan to email and ftp, scan to SMB, scan to USB Standard 250gb hdd for on board document storage Power saving design with quick recovery from sleep mode Advanced authentication, secure print release Multiple bypass tray and detachable paper feed tray Finishing option for 80 page booklet-making, up to 100 sheet stapling Option for 2/3 hole punch Print resolution 1800x600 dpi, 1200x1200 dpi Scanning file format (jpeg, pdf,…) Warranty: 3 years | 3 |  |  |  |
| 1.10 | Tablet Screen Size: 10.1” Internal Memory: 16gb minimum Network: GSM/HSPA/LTE OS: Android 8.1 Ram: 2gb minimum Cover: full body (book) Warranty: 3 years | 40 |  |  |  |
| 1.11 | LCD Projector Light Output: 3200 Lumens Features: HDMI Input, USB Life of Lamp (full usage): 3000 Hours Warranty: 3 years | 3 |  |  |  |
| 2 | SOFTWARE |  |  |  |  |
| 2.1 | Antivirus license for servers (4 physical and 10 virtual servers) 3 years | 1 |  |  |  |
| 2.2 | Iskysoft PDF Editor 6 Professional or equivalent (PRO) – perpetual license for 20 users | 1 |  |  |  |
| 3 | SERVICES |  |  |  |  |
| 3.1 | Installation and Configuration | LS |  |  |  |
| 3.2 | Support Services for a duration of 3 years | LS |  |  |  |

Delivery within 3 months from the signature of the contract (please confirm date): ____________________________________